Instructions are in red text and should be deleted when the specification is complete.

[Bracketed text indicates where project specific decisions are required and should be reviewed and edited to meet the project requirements. All brackets should be removed from the finished document.]

This guide specification must be edited for project-specific requirements. It should be reviewed by a qualified civil or geotechnical engineer, architect, or landscape architect familiar with the site conditions. Supplemental quality control testing for large projects and quality assurance requirements for mechanical installation are not addressed in this guide.

In some applications, a spike edge restraint may be applicable. Select appropriate edge restraint system in Article 2.5.A.  In some applications an aggregate surface infill may be desired.  If so, remove Articles 1.3 B .4, 1.3 B.5, 3.4.L, and update required surface fill material in Article 2.3. Consult a Belgard Commercial Sales Representative for project specification recommendations.

This specification covers the general installation of a Concrete Grid Pavement System comprised of grid pavers with topsoil infill, a bedding sand, and a base course consisting of dense graded aggregate. Edge Restraint and geotextile for subgrade aggregate separation is included.

This specification does not apply to roof pavers, concrete overlays, concrete unit paving slabs, bituminous sand set pavers, or permeable interlocking concrete pavements.

SECTION 32 14 13.20 – CONCRETE GRID PAVEMENT

GENERAL

SUMMARY

Section Includes:

Work consists of furnishing and installing a Concrete Grid Pavement System in accordance with these specifications and in general conformance with the lines, grades, design, and dimensions shown on the plans.

Installation work includes:

Verifying subgrade elevations and slopes generally conform to the lines, grades and site conditions depicted in the construction documents;

Furnishing and installing geotextile (where required), base course, bedding sand, edge restraint, grid pavers, and fill material as shown on the construction drawings.

Related Requirements:

Section 31 20 00 	Earth Moving

Section 31 05 19.13	Geotextiles for Earthwork

Section 32 11 23	Aggregate Base Courses

Section 32 16 13	Curbs and Gutters

[Section 32 17 00	Paving Specialties (parking bumpers, pavement markings, snow melt systems, tactile warnings)]

REFERENCES

American Society for Testing and Materials (ASTM):

ASTM C33		Concrete Aggregates

ASTM C94		Standard Specification for Ready-Mixed Concrete

ASTM C136	Sieve Analysis of Fine and Coarse-Grained Aggregates

ASTM C140	Sampling and Testing Concrete Masonry Units and Related Units

ASTM C1319	Standard Specification for Concrete Grid Paving Units

ASTM D698	Laboratory Compaction Characteristics of Soil Using Standard Effort

ASTM D2940	Graded Aggregate Material for Bases or Subbases for Highways or 						Airports

ASTM D4873	Identification, Storage, and Handling of Geosynthetic Rolls and Samples

ASTM D5268	Standard Specification for Topsoil Used for Landscaping Purposes

American Association of State Highway and Transportation Officials (AASHTO):

1.		AASSHTO	288	 Geotextile Specification for Highway Applications

Interlocking Concrete Pavement Institute (ICPI)

Tech Specs and Technical Bulletins.

SUBMITTALS

Contractor shall submit to the owner for approval a minimum of one full-size sample of the grid pavers specified.

Prior to delivery of the associated material to the site, the Contractor shall submit the following product-specific documentation for approval:

Aggregates

Sieve analysis per ASTM C136 for base, bedding sand and infill (if used).

Minimum 3 lb. sample of each material for independent testing.

Grid pavers:

Test results from an independent testing laboratory for compliance with ASTM C1319.

Safety Data Sheet (SDS).

Geotextile

One 18-inch x 18-inch panel of each type of geotextile to be used for inspection and testing. The sample panels shall be uniformly rolled and shall be wrapped in plastic to protect the material from moisture and damage during shipment. Samples shall be externally tagged for easy identification. External identification shall include the name of the manufacturer; product type; product grade; lot number; and physical dimensions.

Current National Transportation Product Evaluation Program (NTPEP) evaluation report.

Safety Data Sheet (SDS).

Topsoil Fill Material

Source and type of topsoil, seed mix, or sod to be used in conformance with ASTM D5268.

Seed Mix

a.		Seed mix to be approved by Landscape Architect or local agronomy agent.

QUALITY ASSURANCE

        - Contractor Qualifications:

Contractor shall submit a list of five (5) previously constructed projects of similar size and magnitude prior to the bid date to be qualified. Contact names, telephone numbers, and date of completion shall be listed for each project.

The Contractor’s site foreman shall hold a Certified Concrete Paver Installer designation from the Interlocking Concrete Pavement Institute (ICPI). The site foreman shall be onsite for the entire installation.

Contractor shall conform to all local, state/provincial licensing and bonding requirements.

Contractor shall build a mock-up to verify selections made under submittals, to demonstrate aesthetic effects, and to set quality standards for materials and execution.

Install a 10 ft x 10 ft grid paver area following the installation practices described in Article 3.2 to 3.4. This area shall be used to verify joint sizes; lines; laying pattern(s) of the job.

This area shall be the standard by which the work will be judged.

Subject to approval by the Owner, the mock-up may be retained as part of the finished work. If mock-up is not retained, remove and dispose of mock-up at the completion of the project.

DELIVERY, STORAGE, AND HANDLING

Contractor shall coordinate delivery and paving schedule to minimize interference with normal use of buildings adjacent to paving.

Contractor shall check all materials upon delivery to assure that the proper materials have been received and are in good condition before signing off on the manufacturer’s packing slip.

Contractor shall protect all materials from damage or contamination due to job site conditions and in accordance with manufacturer's recommendations. Damaged or contaminated materials shall not be incorporated into the work.

Grid pavers shall be delivered to the site in steel banded, plastic banded, or plastic wrapped cubes capable of transfer by forklift or clamp lift. Unload and store grid pavers at the job site in such a manner that no damage occurs to the product.

Contractor shall handle and transport aggregates to avoid segregation, contamination, and degradation and keep different materials sufficiently separated as to prevent mixing. The material shall not be dumped or stored one material on top of another unless it is part of the installation process. Materials shall be covered to prevent removal by wind.

Geotextile shall be delivered, stored and handled in accordance with ASTM D4873.

ENVIRONMENTAL CONDITIONS

Grid pavers shall not be installed during heavy rain, freezing conditions or snowfall.

Base course shall not be installed on frozen soil subgrade.

Grid pavers, bedding sand, and joint fill material shall not be installed on frozen aggregates.

MAINTENANCE MATERIALS

        - Provide [specify quantity] square feet additional grid paver material for use by Owner for maintenance and repair.

Store extra paver materials in Owner-designated location.

PRODUCTS

CONCRETE GRID PAVER UNITS

Concrete Grid Paver Basis-of-Design:

Product Name: Turfstone by Belgard

Thickness: 3-1/8 inches

Dimensions: 16” x 24” nominally

Color: Gray

Finish: Standard

Supplier:  [Company Name] an Oldcastle Company

Contact: [Sales Rep Name] [Sales Rep cell #]

g.	Substitutions: No substitutions permitted.

Concrete grid pavers shall meet the minimum material and physical properties set forth in ASTM C1319:

Measured length or width of test specimens shall not differ by more than +/- 0.125 in, while measured thickness shall not differ by more than +/- 0.125 inch.

Minimum average compressive strength of 5,000 psi (35 MPa) with no individual unit under 4,500 psi (31 MPa) when tested in accordance with ASTM C140.

Maximum average absorption of 10 pounds/cubic foot with no unit greater than 12 pounds/cubic foot when tested in accordance with ASTM C140.

Efflorescence shall not be a cause for rejection.

BEDDING SAND

Bedding sand shall be clean, non-plastic sand, free from deleterious or foreign matter, and manufactured from crushed rock.

Screenings or stone dust shall not be utilized.

Verify gradation conforms to ASTM C33 requirements for concrete sand (listed in Table 1) as tested in accordance with ASTM C136.

Table 1

Gradation Requirements for Bedding Sand

Sieve Size 	Percent Passing

3/8 inch (9.5 mm) 	100

No. 4 (4.75 mm) 	95 to 100

No. 8 (2.36 mm) 	85 to 100

No. 16 (1.18 mm) 	50 to 85

No. 30 (0.600 mm) 	25 to 60

No. 50 (0.300 mm) 	5 to 30

No. 100 (0.150 mm) 	0 to 10

No. 200 (0.075 mm) 	0 to 1

FILL MATERIAL

Topsoil shall conform to ASTM D5268.

Grass seed or sod plugs shall be used at the surface. Grass seed or sod plugs shall be a perennial drought tolerant variety approved by Landscape Architect or local agronomy agent.

BASE AGGREGATE

Base aggregate shall be clean, non-plastic, free from deleterious or foreign matter or recycled concrete, and manufactured from crushed rock.

Verify gradation conforms to ASTM D2940 as presented in Table 2.

Table 2

Gradation Requirements for Base Course Material

Sieve Size 	Percent Passing

2 in (50 mm) 	100

1 ½ in (37.5 mm) 	95 to 100

¾ in (19 mm) 	70 to 92

3/8 in (9.5 mm)	50 to 70

No. 4 (4.75 mm) 	35 to 55

No. 30 (0.600 mm) 	12 to 25

No. 200 (0.075 mm) 	0 to 8

EDGE RESTRAINT

Edge restraints shall be [cast in place concrete curbs in general conformance with the construction documents.] [spiked edging system installed per manufacture’s recommendation.]

GEOTEXTILE

Geotextile materials shall be selected by the Design Engineer based on the intended use in accordance with AASHTO M-288.

Only geotextiles with a current NTPEP evaluation will be accepted.

EXECUTION

Construction drawings for the Concrete Grid Pavement System are typically prepared and stamped by a Professional Engineer registered in the state of the project. The engineering designs, techniques, and material evaluations should be completed in accordance with guidelines established by the Interlocking Concrete Pavement Institute.

Compaction of the soil subgrade is recommended to a minimum of 95% standard Proctor density per ASTM D698. Stabilization of the subgrade and/or base material may be necessary with weak or saturated subgrade soil.

PREPARATION

Prior to commencement of any work, the Contractor shall conduct a pre-construction meeting with the Owner, Design Engineer, and affected sub-trades.  The pre-construction meeting should, at a minimum, verify:

The location of the mock-up, and whether it will be part of the final construction or need to be removed.

The site layout is in general conformance to the construction documents.

The subgrade lines and elevations are in general conformance with the construction documents. The subgrade elevations shall be within +/- 0.1 ft of the specified grades.

The details of the site’s erosion and sediment control plan.

Proof-roll prepared subgrade according to requirements in Section 31 20 00 Earth Moving to identify soft pockets and areas of excess yielding. Proceed with base installation only after deficient subgrades have been corrected to the satisfaction of the Engineer.

Contractor shall verify compaction of the subgrade is in general conformance with the construction documents prior to placing base materials. Once the Contractor has confirmed the subgrade conditions are in general conformance with the requirements in the construction documents, the Contractor shall begin installing the subbase material. By initiating installation of the base material, the Contractor acknowledges acceptance of the subgrade.

INSTALLATION OF BASE COURSE

Local aggregate base materials typical of those used for highway flexible pavements are recommended, or those conforming to ASTM D2940.

Where required, Geotextile is placed on the prepared soil subgrade as a separation material. Overlap is a function of CBR: 12 to 18 inches for CBR of 3 and above; 24 to 36 inches for CBR of 1.0 to 3.0.  Please consult manufacturers’ specifications and the Geotechnical Engineer.

Install Geotextile in accordance with the specifications and drawings.  The Geotextile is applied to the bottom and sides of the excavation with overlapping joints a minimum of [12 inches.] [24 inches.]

Install the base course at the thickness, compaction, surface tolerances, and elevations outlined in the specifications.

The aggregate should be spread and compacted in uniform layers not exceeding 6-inch loose thickness.

Compact base course to 98% Standard Proctor Density.

Density testing shall be conducted to verify conformance.

Surface tolerance should be plus or minus 3/8 inch (10 mm) over a 10-foot (3 m) straight edge laid in any direction.

Base course compaction must be achieved near curbs, grade beams, concrete collars around utility structures, lights standards, tree wells, building edges and other protrusions as applicable to the project. In areas not accessible to large compaction equipment, compact to specified density with mechanical tampers (jumping jacks).

The upper surface of the base shall be sufficiently well graded and compacted to prevent infiltration of the bedding sand into the base both during construction and throughout its service life. Segregated areas of the granular base shall be blended by the application of crushed fines that have been watered and compacted into the surface.

Before commencing the placing of the bedding course, the base shall be inspected by the Owner or the Consultant.

INSTALLATION OF EDGE RESTRAINT

Adequate edge restraint shall be provided along the perimeter of all paving as specified. The face of the edge restraint, where it abuts pavers, shall be vertical.

All concrete edge restraints shall be constructed to dimensions and level specified and shall be supported on a compacted Base not less than 6 inches thick.

Concrete used for the construction of edge restraints shall be air-entrained and have a compressive strength as specified. All concrete shall be in accordance with ASTM C94 requirements.

INSTALLATION OF BEDDING SAND, GRID PAVERS, AND FILL MATERIAL

Spread the bedding sand evenly over the base course and screed to a nominal 1-inch (25 mm) thickness. The Contractor shall screed the bedding sand using either an approved mechanical spreader (e.g.: an asphalt paver) or by the use of screed rails and boards. The screeded sand should not be disturbed.

Place sufficient sand to stay ahead of the laid pavers. Do not use the bedding sand to fill depressions in the Base Course surface.

Ensure that grid pavers are free of foreign material before installation. Grid pavers shall be inspected, and all chipped or damaged grid pavers shall be replaced.  Initiation of grid paver placement shall be deemed to represent acceptance of the grid pavers.

Lay the grid pavers in the pattern(s) shown on the drawings. Maintain straight pattern lines.

Joints between the individual grid pavers on average shall be 1 /8 inch (3 mm) wide.

Fill gaps at the edges of the paved area with fill material.

Cut all grid pavers using a masonry saw.

Using a low amplitude plate compactor capable of at least 5,000 lbs. (22 kN) compaction at a frequency of 75 Hz –100 Hz, compact the grid pavers into the bedding sand.

The pavers shall be compacted to achieve consolidation of the bedding sand and brought to level and profile by not less than three passes. Initial compaction should proceed as closely as possible following the installation of the paving units and prior to the acceptance of any traffic.

Any units that are structurally damaged during compaction shall be immediately removed and replaced.

Sweep fill material into the joints and voids and vibrate until they are full. This will require two or three passes with the compactor. Do not compact within 3 feet (1 m) of the unrestrained edges of the paving units.

Broadcast grass seed at the rate recommended by the seed supplier, or place sod plugs into all openings.

All work to within 3 feet (1 m) of the laying face must be fully compacted with filled joints at the end of each day.

The final surface elevations shall not deviate more than 3 /8 inch (10 mm) under a 10-foot (3 m) long straightedge.

The surface elevation of grid pavers shall be 1/8 to 1/4 inch (3 to 6 mm) above adjacent drainage inlets, concrete collars or channels.

Distribute straw covering to protect germinating grass seed or sod.  Water entire area.  Do not allow traffic on pavement for 30 days.

AS-BUILT CONSTRUCTION TOLERANCES

Final inspection shall be conducted to verify general conformance to the construction documents after straw has been removed and 70% grass cover has been achieved. All pavements shall be finished to lines and levels to ensure positive drainage at all drainage outlets and channels.

The final surface elevations shall not deviate more than +/- 3/8 inch under a 10-foot long straight edge.

END OF SECTION 32 14 13.20